## EnerTri导入_维基百科
中文术语 | 英文术语 | 俄文术语（可选） | 学术版术语解释 | 通俗版术语解释 | 简要英文解释 | 关键词（3–5个，用逗号分隔） | 相关术语 | 应用场景 | 公式 / 模型（如有） | 有无视频形式的示例或工程案例 | 参考文献（1–2篇） | 填写本词条的学生姓名 | 填写本词条的学生研究方向 | 审核状态
储能技术 | energy storage | хранилище энергии | Energy storage is the capture of energy produced at one time for use at a later time to reduce imbalances between energy demand and energy production. A device that stores energy is generally called an accumulator or battery. Energy comes in multiple forms including radiation, chemical, gravitational potential, electrical potential, electricity, elevated temperature, latent heat, potential and kinetic. Energy storage involves converting energy from forms that are difficult to store to more conveniently or economically storable forms. Some technologies provide short-term energy storage, while others can endure for much longer. Bulk energy storage is currently dominated by hydroelectric dams, both conventional as well as pumped. Grid energy storage is a collection of methods used for energy storage on a large scale within an electrical power grid. | 储能技术通常指儲存能量的技術。 | capture of energy produced at one time for use at a later time | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Energy_storage; https://zh.wikipedia.org/wiki/%E5%82%A8%E8%83%BD%E6%8A%80%E6%9C%AF; https://www.wikidata.org/wiki/Q837718 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
累加器 | accumulator | аккумулятор | An accumulator is an energy storage device: a device which accepts energy, stores energy, and releases energy as needed. Some accumulators accept energy at a low rate (low power) over a long time interval and deliver the energy at a high rate (high power) over a short time interval. Some accumulators accept energy at a high rate over a short time interval and deliver the energy at a low rate over a longer time interval. Some accumulators typically accept and release energy at comparable rates. Various devices can store thermal energy, mechanical energy, and electrical energy. Energy is usually accepted and delivered in the same form. Some devices store a different form of energy than what they receive and deliver performing energy conversion on the way in and on the way out. | 累加器通常指記數器。 | energy storage device: a device which accepts energy, stores energy, and releases energy as needed | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Accumulator_%28energy%29; https://www.wikidata.org/wiki/Q2288996 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
含水层储能系统 | Aquifer thermal energy storage |  | Aquifer thermal energy storage (ATES) is the storage and recovery of thermal energy in subsurface aquifers. ATES can heat and cool buildings. Storage and recovery is achieved by extraction and injection of groundwater using wells. Systems commonly operate in seasonal modes. Groundwater that is extracted in summer performs cooling by transferring heat from the building to the water by means of a heat exchanger. The heated groundwater is reinjected into the aquifer, which stores the heated water. In wintertime, the flow is reversed — heated groundwater is extracted (often fed to a heat pump). An ATES system uses the aquifer to buffer seasonal reversals in heating and cooling demand. ATES can serve as a cost-effective technology to replace fossil fuel-dependent systems and associated CO2 emissions. | Aquifer thermal energy storage (ATES) is the storage and recovery of thermal energy in subsurface aquifers. ATES can heat and cool buildings. Storage and recovery is achieved by extraction and injection of groundwater using wells. Systems commonly operate in seasonal modes. | management of thermal energy in subsurface aquifers | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Aquifer_thermal_energy_storage; https://zh.wikipedia.org/wiki/%E5%90%AB%E6%B0%B4%E5%B1%82%E5%82%A8%E8%83%BD%E7%B3%BB%E7%BB%9F; https://www.wikidata.org/wiki/Q20899264 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
超级电容车 | Capa vehicle | Капабус | A capacitor electric vehicle is a vehicle that uses supercapacitors (also called ultracapacitors) to store electricity. As of 2010, the best ultracapacitors can only store about 5% of the energy that lithium-ion rechargeable batteries can, limiting them to a couple of miles per charge. This makes them ineffective as a general energy storage medium for passenger vehicles. But ultracapacitors can charge much faster than batteries, so in vehicles such as buses that have to stop frequently at known points where charging facilities can be provided, energy storage based exclusively on ultracapacitors becomes viable. | A capacitor electric vehicle is a vehicle that uses supercapacitors (also called ultracapacitors) to store electricity. As of 2010, the best ultracapacitors can only store about 5% of the energy that lithium-ion rechargeable batteries can, limiting them to a couple of miles per charge. | Type of transportation vehicle | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Capacitor_electric_vehicle; https://zh.wikipedia.org/wiki/%E8%B6%85%E7%B4%9A%E9%9B%BB%E5%AE%B9%E8%BB%8A; https://www.wikidata.org/wiki/Q5034458 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
电容器 | capacitor | электрический конденсатор | A capacitor is a device that stores electrical energy by accumulating electric charges on two closely spaced surfaces that are insulated from each other. It is a passive electronic component with two terminals. A capacitor was originally known as a condenser, a term still encountered in a few compound names, such as the condenser microphone. Colloquially, a capacitor may be called a cap. The utility of a capacitor depends on its capacitance. While some capacitance exists between any two electrical conductors in proximity in a circuit, a capacitor is a component designed specifically to add capacitance to some part of the circuit. The physical form and construction of practical capacitors vary widely and many types of capacitor are in common use. Most capacitors contain at least two electrical conductors, often in the form of metallic plates or surfaces separated by a dielectric medium. | 电容器通常指将电能储存在电场中的被动电子元件。 | passive, two-terminal electronic component that stores electrical energy in an electric field | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Capacitor; https://zh.wikipedia.org/wiki/%E7%94%B5%E5%AE%B9%E5%99%A8; https://www.wikidata.org/wiki/Q5322 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
卡諾電池 | Carnot battery |  | A Carnot battery is a type of energy storage system that stores electricity in thermal energy storage. During the charging process, electricity is converted into heat and kept in heat storage. During the discharging process, the stored heat is converted back into electricity. The technology is also known as power-to-heat-to-power. Fritz Marguerre patented the concept of this technology 100 years ago, but its development was recently revitalized, given the increased use of renewable energy and the need to increase the total recovered energy delivered from such sources. In this context, Andre Thess coined the term "Carnot battery" in 2018, prior to the first International Workshop on Carnot Batteries. The term "Carnot battery" is derived from Carnot's theorem, which describes the maximum efficiency of conversion of heat energy into mechanical energy. | A Carnot battery is a type of energy storage system that stores electricity in thermal energy storage. During the charging process, electricity is converted into heat and kept in heat storage. During the discharging process, the stored heat is converted back into electricity. The technology is also known as power-to-heat-to-power. | energy storage system that stores electricity in thermal energy storage | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Carnot_battery; https://zh.wikipedia.org/wiki/%E5%8D%A1%E8%AB%BE%E9%9B%BB%E6%B1%A0; https://www.wikidata.org/wiki/Q101070597 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
压缩空气 | compressed air | Сжатый воздух | Compressed air is air kept under a pressure that is greater than atmospheric pressure. Compressed air in vehicle tires and shock absorbers are commonly used for improved traction and reduced vibration. Compressed air is an important medium for the transfer of energy in industrial processes and is used for power tools such as air hammers, drills, wrenches, and others, as well as to atomize paint, to operate air cylinders for automation, and can also be used to propel vehicles. Brakes applied by compressed air made large railway trains safer and more efficient to operate. Compressed air brakes are also found on large highway vehicles. Compressed air is used as a breathing gas by underwater divers. The diver may carry it in a high-pressure diving cylinder, or supplied from the surface at lower pressure through an air line or diver's umbilical. | 压缩空气通常指通过外力对空气进行压缩，从而使空气体积变小，压强变大。。 | air kept under a pressure that is greater than atmospheric pressure | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Compressed_air; https://zh.wikipedia.org/wiki/%E5%8E%8B%E7%BC%A9%E7%A9%BA%E6%B0%94; https://www.wikidata.org/wiki/Q143746 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
壓縮空氣儲能技術 | compressed air energy storage |  | Compressed-air-energy storage (CAES) is a way to store energy for later use using compressed air. At a utility scale, energy generated during periods of low demand can be released during peak load periods. The first utility-scale CAES project was in the Huntorf power plant in Elsfleth, Germany, and is still operational as of 2024. The Huntorf plant was initially developed as a load balancer for fossil-fuel-generated electricity, but the global shift towards renewable energy renewed interest in CAES systems, to help highly intermittent energy sources like photovoltaics and wind satisfy fluctuating electricity demands. One ongoing challenge in large-scale design is the management of thermal energy, since the compression of air leads to an unwanted temperature increase that not only reduces operational efficiency but can also lead to damage. | Compressed-air-energy storage (CAES) is a way to store energy for later use using compressed air. At a utility scale, energy generated during periods of low demand can be released during peak load periods. The first utility-scale CAES project was in the Huntorf power plant in Elsfleth, Germany, and is still operational as of 2024. | type of energy storage system using compressed air | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Compressed-air_energy_storage; https://zh.wikipedia.org/wiki/%E5%A3%93%E7%B8%AE%E7%A9%BA%E6%B0%A3%E5%84%B2%E8%83%BD%E6%8A%80%E8%A1%93; https://www.wikidata.org/wiki/Q1260916 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
深循環電池 | deep-cycle battery |  | A deep-cycle battery is a battery designed to be regularly deeply discharged using most of its capacity. The term is traditionally mainly used for lead–acid batteries in the same form factor as automotive batteries; and contrasted with starter or cranking automotive batteries designed to deliver only a small part of their capacity in a short, high-current burst for starting an engine. For lead–acid deep-cycle batteries there is an inverse correlation between the depth of discharge (DOD) of the battery and the number of charge and discharge cycles it can perform; with an average depth of discharge of around 50% suggested as the best for storage vs cost. Newer technologies such as lithium-ion batteries are becoming commonplace in smaller sizes in uses such as in smartphones and laptops. | A deep-cycle battery is a battery designed to be regularly deeply discharged using most of its capacity. | type of battery | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Deep-cycle_battery; https://www.wikidata.org/wiki/Q3704661 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
德雷克太阳能社区 | Drake Landing Solar Community |  | The Drake Landing Solar Community (DLSC) was a planned community in Okotoks, Alberta, Canada, equipped with a central solar heating system and other energy efficient technologies. This heating system is the first of its kind in North America, although much larger systems have been built in northern Europe. The 52 homes (few variation of size and style, with average above-grade floor area of 145m2) in the community are heated with a solar district heating system that is charged with heat originating from solar collectors on the garage roofs and is enabled for year-round heating by underground seasonal thermal energy storage (STES). The system was designed to model a way of addressing global warming and the burning of fossil fuels. The solar energy is captured by 800 solar thermal collectors located on the roofs of all 52 houses' garages. | The Drake Landing Solar Community (DLSC) was a planned community in Okotoks, Alberta, Canada, equipped with a central solar heating system and other energy efficient technologies. This heating system is the first of its kind in North America, although much larger systems have been built in northern Europe. | Solar thermal energy | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Drake_Landing_Solar_Community; https://www.wikidata.org/wiki/Q5305610 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
能量密度扩展列表 | Energy density Extended Reference Table |  | This is an extended version of the energy density table from the main Energy density page. | This is an extended version of the energy density table from the main Energy density page. | This is an extended version of the energy density table from the main Energy density page. | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Energy_density_extended_reference_table; https://www.wikidata.org/wiki/Q5377035 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
無燃燒機動車 | fireless locomotive | Бестопочный паровоз | A fireless locomotive is a type of locomotive which uses reciprocating engines powered from a reservoir of compressed air or steam, which is filled at intervals from an external source. They offer advantages over conventional steam locomotives of lower cost per unit, cleanliness, and decreased risk from fire or boiler explosion; these are counterbalanced by the need for a source to refill the locomotive, and by the limited range afforded by the reservoir. They were desirable in situations where smoke from a firebox would be too noxious, or where there was risk of fire or explosion. Typical usage was in a mine, or a food or chemical factory. They were also used where a source of air or steam was readily available, and for moving loads within limited areas, such as a switch yard or within an industrial factory. | A fireless locomotive is a type of locomotive which uses reciprocating engines powered from a reservoir of compressed air or steam, which is filled at intervals from an external source. | type of locomotive | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Fireless_locomotive; https://www.wikidata.org/wiki/Q1158874 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
飞轮能量储存 | flywheel energy storage | Маховичный Накопитель Кинетической Энергии | Flywheel energy storage (FES) works by spinning a rotor (flywheel) and maintaining the energy in the system as rotational energy. When energy is extracted from the system, the flywheel's rotational speed is reduced as a consequence of the principle of conservation of energy; adding energy to the system correspondingly results in an increase in the speed of the flywheel. While some systems use low mass/high speed rotors, other use very massive rotors (e.g., 200 tonnes) and correspondingly much lower rotational speeds, referred to as grid-scale flywheel energy storage. Other designs employ high-speed rotors that operate at tens of thousands of revolutions per minute. Most FES systems use electricity to accelerate and decelerate the flywheel, but devices that directly use mechanical energy are being developed. | Flywheel energy storage (FES) works by spinning a rotor (flywheel) and maintaining the energy in the system as rotational energy. | mechanical system having rotational kinetic energy | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Flywheel_energy_storage; https://zh.wikipedia.org/wiki/%E9%A3%9E%E8%BD%AE%E5%82%A8%E8%83%BD; https://www.wikidata.org/wiki/Q1538992 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
富兰克林钟 | Franklin bells |  | Franklin bells (also known as lightning bells) are an early demonstration of electric charge designed to work with a Leyden jar or a lightning rod. Franklin bells are only a qualitative indicator of electric charge and were used for simple demonstrations rather than research. The bells are an adaptation to the first device that converted electrical energy into mechanical energy in the form of continuous mechanical motion: in this case, the moving of a bell clapper back and forth between two oppositely charged bells. | Franklin bells (also known as lightning bells) are an early demonstration of electric charge designed to work with a Leyden jar or a lightning rod. Franklin bells are only a qualitative indicator of electric charge and were used for simple demonstrations rather than research. | scientific instrument demonstrating electric charge | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Franklin_bells; https://www.wikidata.org/wiki/Q2979503 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
燃料电池 | fuel cell | топливный элемент | A fuel cell is an electrochemical cell that converts the chemical energy of a fuel (often hydrogen) and an oxidizing agent (often oxygen) into electricity through a pair of redox reactions. Fuel cells are different from most batteries in requiring a continuous source of fuel and oxygen (usually from air) to sustain the chemical reaction, whereas in a battery the chemical energy usually comes from substances that are already present in the battery. Fuel cells can produce electricity continuously for as long as fuel and oxygen are supplied. The first fuel cells were invented by Sir William Grove in 1838. The first commercial use of fuel cells came almost a century later following the invention of the hydrogen–oxygen fuel cell by Francis Thomas Bacon in 1932. | 燃料电池通常指将燃料与氧化剂中的化学能转化为电能的发电装置。 | electrochemical cell that converts chemical energy into electricity by oxidizing a fuel | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Fuel_cell; https://zh.wikipedia.org/wiki/%E7%87%83%E6%96%99%E7%94%B5%E6%B1%A0; https://www.wikidata.org/wiki/Q180253 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
家庭備用電源 | home energy storage system |  | Home energy storage refers to residential energy storage devices that store electrical energy locally for later consumption. Usually, electricity is stored in lithium-ion rechargeable batteries, controlled by intelligent software to handle charging and discharging cycles. Companies are also developing smaller flow battery technology for home use. As a local energy storage technologies for home use, they are smaller relatives of battery-based grid energy storage and support the concept of distributed generation. When paired with on-site generation, they can virtually eliminate blackouts in an off-the-grid lifestyle. The stored energy commonly originates from on-site solar photovoltaic system such as rooftop solar panels, which generate direct current electricity during daylight hours. | Home energy storage refers to residential energy storage devices that store electrical energy locally for later consumption. Usually, electricity is stored in lithium-ion rechargeable batteries, controlled by intelligent software to handle charging and discharging cycles. Companies are also developing smaller flow battery technology for home use. | locally installed system for storing electrical energy for later consumption by a household | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Home_energy_storage; https://www.wikidata.org/wiki/Q31273083 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
混合動力系統 | hybrid power |  | Hybrid power are combinations between different technologies to produce power. In power engineering, the term 'hybrid' describes a combined power and energy storage system. Examples of power producers used in hybrid power are photovoltaics, wind turbines, and various types of engine-generators – e.g. diesel gen-sets. Hybrid power plants often contain a renewable energy component (such as PV) that is balanced via a second form of generation or storage such as a diesel genset, fuel cell or battery storage system. They can also provide other forms of power such as heat for some applications. | Hybrid power are combinations between different technologies to produce power. In power engineering, the term 'hybrid' describes a combined power and energy storage system. Examples of power producers used in hybrid power are photovoltaics, wind turbines, and various types of engine-generators – e.g. diesel gen-sets. | combinations between different technologies to generate electric power | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Hybrid_power; https://www.wikidata.org/wiki/Q13636979 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
液压蓄压器 | hydraulic accumulator | Гидроаккумулятор | A hydraulic accumulator is a pressure storage reservoir in which an incompressible hydraulic fluid is held under pressure that is applied by an external source of mechanical energy. The external source can be an engine, a spring, a raised weight, or a compressed gas. An accumulator enables a hydraulic system to cope with extremes of demand using a less powerful pump, to respond more quickly to a temporary demand, and to smooth out pulsations. It is a type of energy storage device. Compressed gas accumulators, also called hydro-pneumatic accumulators, are by far the most common type. | A hydraulic accumulator is a pressure storage reservoir in which an incompressible hydraulic fluid is held under pressure that is applied by an external source of mechanical energy. The external source can be an engine, a spring, a raised weight, or a compressed gas. | reservoir to store and stabilise fluid pressure | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Hydraulic_accumulator; https://zh.wikipedia.org/wiki/%E6%B6%B2%E5%8E%8B%E8%93%84%E8%83%BD%E5%99%A8; https://www.wikidata.org/wiki/Q4668679 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
氢气储存 | hydrogen storage | Хранение водорода | Several methods exist for storing hydrogen. These include mechanical approaches such as using high pressures and low temperatures, or employing chemical compounds that release H2 upon demand. While large amounts of hydrogen are produced by various industries, it is mostly consumed at the site of production, notably for the synthesis of ammonia. For many years hydrogen has been stored as compressed gas or cryogenic liquid, and transported as such in cylinders, tubes, and cryogenic tanks for use in industry or as propellant in space programs. The overarching challenge is the very low boiling point of H2: it boils around 20.268 K (−252.882 °C or −423.188 °F). Achieving such low temperatures requires expending significant energy. | Several methods exist for storing hydrogen. These include mechanical approaches such as using high pressures and low temperatures, or employing chemical compounds that release H2 upon demand. While large amounts of hydrogen are produced by various industries, it is mostly consumed at the site of production, notably for the synthesis of ammonia. | any method for storing hydrogen for later use | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Hydrogen_storage; https://zh.wikipedia.org/wiki/%E5%84%B2%E6%B0%AB; https://www.wikidata.org/wiki/Q1203442 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
空調儲冰系統 | ice storage air conditioning |  | Ice storage air conditioning is the process of using ice for thermal energy storage. The process can reduce energy used for cooling during times of peak electrical demand. Alternative power sources such as solar can also use the technology to store energy for later use. This is practical because of water's large heat of fusion: one metric ton of water (one cubic metre) can store 334 megajoules (MJ) (317,000 BTU) of energy, equivalent to 93 kWh (26.4 ton-hours). The original definition of a "ton of cooling capacity" (heat flow) was the heat needed to melt one ton of ice in a 24-hour period. This heat flow is what one would expect in a 3,000-square-foot (280 m2) house in Boston in the summer. This definition has since been replaced by less-archaic units: one ton of HVAC or refrigeration capacity is approximately equivalent to 3520 Watts. | Ice storage air conditioning is the process of using ice for thermal energy storage. The process can reduce energy used for cooling during times of peak electrical demand. Alternative power sources such as solar can also use the technology to store energy for later use. | process of using ice for thermal energy storage | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Ice_storage_air_conditioning; https://www.wikidata.org/wiki/Q5985524 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
电感元件 | inductor | катушка индуктивности | An inductor, also called a coil, choke, or reactor, is a passive two-terminal electrical component that stores energy in a magnetic field when an electric current flows through it. An inductor typically consists of an insulated wire wound into a coil. When the current flowing through the coil changes, the time-varying magnetic field induces an electromotive force (emf), or voltage, in the conductor, described by Faraday's law of induction. According to Lenz's law, the induced voltage has a polarity (direction) which opposes the change in current that created it. As a result, inductors oppose any changes in current through them. An inductor is characterized by its inductance, which is the ratio of the voltage to the rate of change of current. In the International System of Units (SI), the unit of inductance is the henry (H) named for 19th century American scientist Joseph Henry. | 电感元件通常指元件。 | passive two-terminal electrical component that stores energy in its magnetic field | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Inductor; https://zh.wikipedia.org/wiki/%E7%94%B5%E6%84%9F%E5%85%83%E4%BB%B6; https://www.wikidata.org/wiki/Q5325 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
动能回收系统 | kinetic energy recovery system | KERS | A kinetic energy recovery system (KERS) is an automotive system for recovering a moving vehicle's kinetic energy under braking. The recovered energy is stored in a reservoir (for example a flywheel or high voltage batteries) for later use under acceleration. Examples include complex high end systems such as the Zytek, Flybrid, Torotrak and Xtrac used in Formula One racing and simple, easily manufactured and integrated differential based systems such as the Cambridge Passenger/Commercial Vehicle Kinetic Energy Recovery System (CPC-KERS). Xtrac and Flybrid are both licensees of Torotrak's technologies, which employ a small and sophisticated ancillary gearbox incorporating a continuously variable transmission (CVT). The CPC-KERS is similar as it also forms part of the driveline assembly. | 动能回收系统通常指汽车组件系统。 | automotive brake energy system | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Kinetic_energy_recovery_system; https://zh.wikipedia.org/wiki/%E5%8A%A8%E8%83%BD%E5%9B%9E%E6%94%B6%E7%B3%BB%E7%BB%9F; https://www.wikidata.org/wiki/Q173171 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
拉姆-霍尼格曼过程 | Lamm-Honigmann process |  | The Lamm-Honigmann process is a storage and heat to power conversion process that consists of using the effect of vapor pressure depression of a working fluid mixture compared to a pure working fluid of that mixture. This process is named after their independent inventors Emile Lamm (US patent from 1870) and Moritz Honigmann (German patent from 1883). Both inventors envisioned and realized the same process principle for usage as energy storage in so-called Fireless locomotive but with different working fluid pairs: Emile Lamm used ammonia and water, Moritz Honigmann used water and caustic soda. | The Lamm-Honigmann process is a storage and heat to power conversion process that consists of using the effect of vapor pressure depression of a working fluid mixture compared to a pure working fluid of that mixture. | storage and converter process | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Lamm-Honigmann_process; https://www.wikidata.org/wiki/Q106741930 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
莱顿瓶 | Leyden jar | Лейденская банка | A Leyden jar (or Leiden jar, or archaically, Kleistian jar) is an electrical component that stores a high-voltage electric charge (from an external source) between electrical conductors on the inside and outside of a glass jar. It typically comprises a glass jar with metal foil cemented to the inside and the outside surfaces, and a metal terminal projecting vertically through the jar lid to make contact with the inner foil. It was the original form of the capacitor (also called a condenser). Its invention was a discovery made independently by German cleric Ewald Georg von Kleist on 11 October 1745 and by Dutch scientist Pieter van Musschenbroek of Leiden (Leyden), Netherlands, in 1745–1746. The Leyden jar was used to conduct many early experiments in electricity, and its discovery was of fundamental importance in the study of electrostatics. | A Leyden jar (or Leiden jar, or archaically, Kleistian jar) is an electrical component that stores a high-voltage electric charge (from an external source) between electrical conductors on the inside and outside of a glass jar. | antique electrical device which stores a high-voltage electric charge | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Leyden_jar; https://zh.wikipedia.org/wiki/%E8%8E%B1%E9%A1%BF%E7%93%B6; https://www.wikidata.org/wiki/Q23645 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
液態空氣 | liquid air | жидкий воздух | Liquid air is air that has been cooled to very low temperatures (cryogenic temperatures), so that it has condensed into a pale blue mobile liquid. It is stored in specialized containers, such as vacuum flasks, to insulate it from room temperature. Liquid air can absorb heat rapidly and revert to its gaseous state. It is often used for condensing other substances into liquid and/or solidifying them, and as an industrial source of nitrogen, oxygen, argon, and other inert gases through a process called air separation (industrially referred to as air rectification). | Liquid air is air that has been cooled to very low temperatures (cryogenic temperatures), so that it has condensed into a pale blue mobile liquid. It is stored in specialized containers, such as vacuum flasks, to insulate it from room temperature. Liquid air can absorb heat rapidly and revert to its gaseous state. | air that has been condensed into a liquid | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Liquid_air; https://www.wikidata.org/wiki/Q2466790 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
負載均衡（電功率） | load balancing | балансировка нагрузки | Load balancing, load matching, or daily peak demand reserve refers to the use of various techniques by electrical power stations to store excess electrical power during low demand periods for release as demand rises. The aim is for the power supply system to have a load factor of 1. Grid energy storage stores electricity within the transmission grid beyond the customer. Alternatively, the storage can be distributed and involve the customer, for example in storage heaters running demand-response tariffs such as the United Kingdom's Economy 7, or in a vehicle-to-grid system to use storage from electric vehicles during peak times and then replenish it during off peak times. These require incentives for consumers to participate, usually by offering cheaper rates for off peak electricity. | Load balancing, load matching, or daily peak demand reserve refers to the use of various techniques by electrical power stations to store excess electrical power during low demand periods for release as demand rises. The aim is for the power supply system to have a load factor of 1. | techniques by electrical power stations to store excess electrical power | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Load_balancing_%28electrical_power%29; https://www.wikidata.org/wiki/Q1806783 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
甲醇 | methanol | метанол | Methanol (also called methyl alcohol, wood alcohol, and wood spirit, amongst other names) is an organic chemical compound and the simplest aliphatic alcohol, with the chemical formula CH3OH (a methyl group linked to a hydroxyl group, often abbreviated as MeOH). It is a light, volatile, colorless and flammable liquid with a distinctive alcoholic odor similar to that of ethanol (potable alcohol), but is more acutely toxic than the latter. Methanol acquired the name wood alcohol because it was once produced through destructive distillation of wood. Today, methanol is mainly produced industrially by hydrogenation of carbon monoxide. Methanol consists of a methyl group linked to a polar hydroxyl group. | 甲醇通常指结构最为简单的无色易挥发的饱和一元醇，分子式为CH3OH。 | chemical compound | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Methanol; https://zh.wikipedia.org/wiki/%E7%94%B2%E9%86%87; https://www.wikidata.org/wiki/Q14982 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
熔盐 | molten salt | расплавленная соль | Molten salt is salt which is solid at standard temperature and pressure but liquefied due to elevated temperature. A salt that is liquid even at standard temperature and pressure is usually called a room-temperature ionic liquid, and molten salts are technically a class of ionic liquids. | Molten salt is salt which is solid at standard temperature and pressure but liquefied due to elevated temperature. A salt that is liquid even at standard temperature and pressure is usually called a room-temperature ionic liquid, and molten salts are technically a class of ionic liquids. | salt in the liquid phase due to elevated temperature | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Molten_salt; https://zh.wikipedia.org/wiki/%E7%86%94%E9%B9%BD; https://www.wikidata.org/wiki/Q1931010 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
熔盐电池 | molten salt battery | Батарея на расплавах солей | Molten-salt batteries are a class of battery that uses molten salts as an electrolyte and offers both a high energy density and a high power density. Traditional non-rechargeable thermal batteries can be stored in their solid state at room temperature for long periods of time before being activated by heating. Rechargeable liquid-metal batteries are used for industrial power backup and grid energy storage to balance out intermittent renewable power sources such as solar panels and wind turbines. In 2023, the use of molten salts as electrolytes for high-energy rechargeable lithium metal batteries was demonstrated. | Molten-salt batteries are a class of battery that uses molten salts as an electrolyte and offers both a high energy density and a high power density. Traditional non-rechargeable thermal batteries can be stored in their solid state at room temperature for long periods of time before being activated by heating. | class of battery that uses molten salts as an electrolyte and offers both a high energy density and a high power density | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Molten-salt_battery; https://www.wikidata.org/wiki/Q949927 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
净计量电价 | net metering | Система чистого измерения | Net metering (or net energy metering, NEM) is an electricity billing mechanism that allows consumers who generate some or all of their own electricity to use that electricity anytime, instead of when it is generated. This is particularly important with renewable energy sources like wind and solar, which are non-dispatchable (when not coupled to storage). Monthly net metering allows consumers to use solar power generated during the day at night, or wind from a windy day later in the month. Annual net metering rolls over a net kilowatt-hour (kWh) credit to the following month, allowing solar power that was generated in July to be used in December, or wind power from March in August. | Net metering (or net energy metering, NEM) is an electricity billing mechanism that allows consumers who generate some or all of their own electricity to use that electricity anytime, instead of when it is generated. | type of billing of electricity generated from renewable sources | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Net_metering; https://zh.wikipedia.org/wiki/%E5%87%80%E8%AE%A1%E9%87%8F%E7%94%B5%E4%BB%B7; https://www.wikidata.org/wiki/Q2685471 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
電轉氣 | Power to gas |  | Power-to-gas (often abbreviated P2G) is a technology that uses electric power to produce a gaseous fuel sometimes referred to as an Electrofuel. Most P2G systems use electrolysis to produce hydrogen. The hydrogen can be used directly, or further steps (known as two-stage P2G systems) may convert the hydrogen into syngas, methane, or LPG. Single-stage P2G systems to produce methane also exist, such as reversible solid oxide cell (rSOC) technology. Produced gas, just like natural gas or industrially produced hydrogen or methane, is a commodity and may be used as such through existing infrastructure (pipelines and gas storage facilities), including back to power at a loss. However, provided the power comes from renewable energy, it can be touted as a carbon-neutral fuel, renewable, and a way to store variable renewable energy. | Power-to-gas (often abbreviated P2G) is a technology that uses electric power to produce a gaseous fuel sometimes referred to as an Electrofuel. Most P2G systems use electrolysis to produce hydrogen. The hydrogen can be used directly, or further steps (known as two-stage P2G systems) may convert the hydrogen into syngas, methane, or LPG. | process to convert electric power into hydrogen or methane | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Power-to-gas; https://zh.wikipedia.org/wiki/%E9%9B%BB%E8%BD%89%E6%B0%A3; https://www.wikidata.org/wiki/Q12646543 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
電轉X | power-to-X |  | Power-to-X (also P2X and P2Y) are electricity conversion, energy storage, and reconversion pathways from surplus renewable energy. By linking the power sector to other energy sectors, power-to-X conversion technologies offer the possibilities to exploit synergies across the whole energy as intended with the concept of sector coupling and fully integrated smart energy systems. The X in the terminology can refer to one of the following: power-to-ammonia, power-to-chemicals, power-to-gas (power-to-hydrogen, power-to-methane), power to food, and power-to-heat. Electric vehicle charging, space heating and cooling, and water heating can be shifted in time to match generation. These are forms of demand response that can be considered power-to-mobility and power-to-heat respectively. | Power-to-X (also P2X and P2Y) are electricity conversion, energy storage, and reconversion pathways from surplus renewable energy. | Storing surplus electricity production in chemical form | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Power-to-X; https://www.wikidata.org/wiki/Q19298719 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
抽水蓄能电站 | pumped-storage power station | гидроаккумулирующая электростанция | Pumped-storage hydroelectricity (PSH), or pumped hydroelectric energy storage (PHES), is a type of hydroelectric energy storage used by electric power systems for load balancing. A PSH system stores energy in the form of gravitational potential energy of water, pumped from a lower elevation reservoir to a higher elevation. Low-cost surplus off-peak electric power is typically used to run the pumps. During periods of high electrical demand, the stored water is released through turbines to produce electric power. Pumped-storage hydroelectricity allows energy from intermittent sources (such as solar, wind, and other renewables) or excess electricity from continuous base-load sources (such as coal or nuclear) to be saved for periods of higher demand. | Pumped-storage hydroelectricity (PSH), or pumped hydroelectric energy storage (PHES), is a type of hydroelectric energy storage used by electric power systems for load balancing. A PSH system stores energy in the form of gravitational potential energy of water, pumped from a lower elevation reservoir to a higher elevation. | hydroelectric energy storage station using two water reservoirs connected with a pump and a turbine | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Pumped-storage_hydroelectricity; https://zh.wikipedia.org/wiki/%E6%8A%BD%E6%B0%B4%E8%93%84%E8%83%BD%E7%94%B5%E7%AB%99; https://www.wikidata.org/wiki/Q339353 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
季節性熱儲能 | seasonal thermal energy storage |  | Seasonal thermal energy storage (STES), also known as inter-seasonal thermal energy storage, is the storage of heat or cold for periods of up to several months. The thermal energy can be collected whenever it is available and be used whenever needed, such as in the opposing season. For example, heat from solar collectors or waste heat from air conditioning equipment can be gathered in hot months for space heating use when needed, including during winter months. Waste heat from industrial process can similarly be stored and be used much later or the natural cold of winter air can be stored for summertime air conditioning. STES stores can serve district heating systems, as well as single buildings or complexes. | Seasonal thermal energy storage (STES), also known as inter-seasonal thermal energy storage, is the storage of heat or cold for periods of up to several months. The thermal energy can be collected whenever it is available and be used whenever needed, such as in the opposing season. | storage of heat or cold for periods of up to several months | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Seasonal_thermal_energy_storage; https://www.wikidata.org/wiki/Q7441920 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
鈉硫電池 | sodium–sulfur battery | Серно-натриевый аккумулятор | A sodium–sulfur (NaS) battery is a type of molten-salt battery that uses liquid sodium and liquid sulfur electrodes. This type of battery has a similar energy density to lithium-ion batteries, and is fabricated from inexpensive and low-toxicity materials. Due to the high operating temperature required (usually between 300 and 350 °C), as well as the highly reactive nature of sodium and sodium polysulfides, these batteries are primarily suited for stationary energy storage applications, rather than for use in vehicles. Molten Na-S batteries are scalable in size: there is a 1 MW microgrid support system on Catalina Island CA (USA) and a 50 MW/300 MWh system in Fukuoka, Kyushu, (Japan). Despite their very low capital cost and high energy density (300-400 Wh/L), molten sodium–sulfur batteries have not achieved a wide-scale deployment yet compared to lithium-ion batteries: there have been ca. | A sodium–sulfur (NaS) battery is a type of molten-salt battery that uses liquid sodium and liquid sulfur electrodes. This type of battery has a similar energy density to lithium-ion batteries, and is fabricated from inexpensive and low-toxicity materials. | type of high temperature electrochemical storage technology using sodium and sulphur | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Sodium%E2%80%93sulfur_battery; https://zh.wikipedia.org/wiki/%E9%92%A0%E7%A1%AB%E7%94%B5%E6%B1%A0; https://www.wikidata.org/wiki/Q402893 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
蓄熱式加熱器 | storage heater | Тепловой аккумулятор | A storage heater, nightstore (New Zealand) or heat bank (Australia) is an electrical heater which stores thermal energy during the evening, or at night, when electricity is available at lower cost, and releases the heat during the day as required. Alternatively, solar storage heaters are designed to store solar energy as heat, to be released during the night or other periods where it is required, often making it more cost effective than selling surplus electricity to the grid and buying it back at night. | A storage heater, nightstore (New Zealand) or heat bank (Australia) is an electrical heater which stores thermal energy during the evening, or at night, when electricity is available at lower cost, and releases the heat during the day as required. | type of heater | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Storage_heater; https://www.wikidata.org/wiki/Q1424011 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
储藏器官 | storage organ | орган хранения | A storage organ is a part of a plant specifically modified for storage of energy (generally in the form of carbohydrates) or water. Storage organs often grow underground, where they are better protected from attack by herbivores. Plants that have an underground storage organ are called geophytes in the Raunkiær plant life-form classification system. Storage organs often, but not always, act as perennating organs which enable plants to survive adverse conditions (such as cold, excessive heat, lack of light or drought). | A storage organ is a part of a plant specifically modified for storage of energy (generally in the form of carbohydrates) or water. Storage organs often grow underground, where they are better protected from attack by herbivores. Plants that have an underground storage organ are called geophytes in the Raunkiær plant life-form classification system. | part of a plant specifically modified for storage of energy (generally in the form of carbohydrates) or water | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Storage_organ; https://zh.wikipedia.org/wiki/%E8%B4%AE%E8%97%8F%E5%99%A8%E5%AE%98; https://www.wikidata.org/wiki/Q912153 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
储存环束流 | storage ring | накопительное кольцо | A storage ring is a type of circular particle accelerator in which a continuous or pulsed particle beam may be kept circulating, typically for many hours. Storage of a particular particle depends upon the mass, momentum, and usually the charge of the particle to be stored. Storage rings most commonly store electrons, positrons, or protons. Storage rings are most often used to store electrons that radiate synchrotron radiation. Over 50 facilities based on electron storage rings exist and are used for a variety of studies in chemistry and biology. Storage rings can also be used to produce polarized high-energy electron beams through the Sokolov-Ternov effect. The best-known application of storage rings is their use in particle accelerators and in particle colliders, where two counter-rotating beams of stored particles are brought into collision at discrete locations. | A storage ring is a type of circular particle accelerator in which a continuous or pulsed particle beam may be kept circulating, typically for many hours. Storage of a particular particle depends upon the mass, momentum, and usually the charge of the particle to be stored. Storage rings most commonly store electrons, positrons, or protons. | type of particle accelerator | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Storage_ring; https://zh.wikipedia.org/wiki/%E5%82%A8%E5%AD%98%E7%8E%AF; https://www.wikidata.org/wiki/Q919917 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
超导储能 | superconducting magnetic energy storage |  | Superconducting magnetic energy storage (SMES) systems store energy in the magnetic field created by the flow of direct current in a superconducting coil that has been cryogenically cooled to a temperature below its superconducting critical temperature. This use of superconducting coils to store magnetic energy was invented by M. Ferrier in 1970. A typical SMES system includes three parts: superconducting coil, power conditioning system and cryogenically cooled refrigerator. Once the superconducting coil is energized, the current will not decay and the magnetic energy can be stored indefinitely. The stored energy can be released back to the network by discharging the coil. The power conditioning system uses an inverter/rectifier to transform alternating current (AC) power to direct current or convert DC back to AC power. | Superconducting magnetic energy storage (SMES) systems store energy in the magnetic field created by the flow of direct current in a superconducting coil that has been cryogenically cooled to a temperature below its superconducting critical temperature. This use of superconducting coils to store magnetic energy was invented by M. Ferrier in 1970. | energy storage technique | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Superconducting_magnetic_energy_storage; https://zh.wikipedia.org/wiki/%E8%B6%85%E5%AF%BC%E7%A3%81%E5%82%A8%E8%83%BD; https://www.wikidata.org/wiki/Q915682 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
热能储存#熔融盐技术 | thermal energy storage |  | Thermal energy storage (TES) is the storage of thermal energy for later reuse. Employing widely different technologies, it allows thermal energy to be stored for hours, days, or months. Scale both of storage and use vary from small to large – from individual processes to district, town, or region as part of a Thermal energy network. Usage examples are the balancing of energy demand between daytime and nighttime, storing summer heat for winter heating, or winter cold for summer cooling (Seasonal thermal energy storage). Storage media include water or ice-slush tanks, masses of native earth or bedrock accessed with heat exchangers by means of boreholes, deep aquifers contained between impermeable strata; shallow, lined pits filled with gravel and water and insulated at the top, as well as eutectic solutions and phase-change materials. | Thermal energy storage (TES) is the storage of thermal energy for later reuse. Employing widely different technologies, it allows thermal energy to be stored for hours, days, or months. Scale both of storage and use vary from small to large – from individual processes to district, town, or region as part of a Thermal energy network. | achieved with greatly differing technologies that collectively accommodate a wide range of needs; allows excess thermal energy to be collected for later use | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Thermal_energy_storage; https://www.wikidata.org/wiki/Q2142963 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
間歇性能源 | variable renewable energy |  | Variable renewable energy (VRE) or intermittent renewable energy sources (IRES) are renewable energy sources that are not dispatchable (adjustable on demand) due to their fluctuating nature, such as wind power and solar power, as opposed to controllable renewable energy sources, such as dammed hydroelectricity or bioenergy, or relatively constant sources, such as geothermal power. The use of small amounts of intermittent power has little effect on grid operations. Using larger amounts of intermittent power may require upgrades or even a redesign of the grid infrastructure. | Variable renewable energy (VRE) or intermittent renewable energy sources (IRES) are renewable energy sources that are not dispatchable (adjustable on demand) due to their fluctuating nature, such as wind power and solar power, as opposed to controllable renewable energy sources, such as dammed hydroelectricity or bioenergy, or relatively constant s | type of renewable energy source | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Variable_renewable_energy; https://zh.wikipedia.org/wiki/%E9%96%93%E6%AD%87%E6%80%A7%E5%86%8D%E7%94%9F%E8%83%BD%E6%BA%90; https://www.wikidata.org/wiki/Q7915732 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted
V2G | vehicle-to-grid | Vehicle-to-grid | Vehicle-to-grid (V2G) describes a system in which plug-in electric vehicles (PIEVs) sell demand response services to the electrical grid. Such services are either backfeeding electricity to the grid, or reducing the rate of charge from the grid at different times of the day. Demand services reduce demand peaks for grid supply, and hence reduce the probability of disruption from load variations. Vehicle-to-load (V2L) and vehicle-to-vehicle (V2V) are related concepts, but the AC phase is not synchronised with the grid, so the power is only available to "off-grid" loads. Plug-in electric vehicles include battery electric vehicles (BEVs) and plug-in hybrid electric vehicles (PHEVs). They share the ability to store electricity in their on-board battery modules, which are typically used to propel the vehicle's electric engine. | Vehicle-to-grid (V2G) describes a system in which plug-in electric vehicles (PIEVs) sell demand response services to the electrical grid. Such services are either backfeeding electricity to the grid, or reducing the rate of charge from the grid at different times of the day. | system to allow battery vehicles to contribute electrical energy to the power grid | 储能, 电池, 能源系统, 电力工程 |  | 电网调峰、可再生能源并网、储能系统设计和能源管理。 |  | 否 | https://en.wikipedia.org/wiki/Vehicle-to-grid; https://zh.wikipedia.org/wiki/V2G; https://www.wikidata.org/wiki/Q1783938 | Wikipedia 自动采集 | 能源与碳中和术语库建设 | submitted

## 待人工翻译_SKIP
处理建议 | 跳过原因 | 英文术语 | 建议中文术语 | 俄文术语（如有） | 英文摘要 / 描述 | 来源分类 | Wikidata QID | 英文 Wikipedia 链接 | Wikidata 链接
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Ampd Energy | 待译：Ampd Energy |  | Ampd Energy is a company in the energy industry, which designs and manufactures energy storage systems (ESS). It is a member of the Incu-Tech Programme, a Hong Kong Government and HK Science and Technology Park initiative. | Category:Energy storage | Q30645228 | https://en.wikipedia.org/wiki/Ampd_Energy | https://www.wikidata.org/wiki/Q30645228
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | biobattery | 待译：biobattery |  | energy storing device that is powered by organic compounds | Category:Energy storage | Q4914697 | https://en.wikipedia.org/wiki/Biobattery | https://www.wikidata.org/wiki/Q4914697
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Body capacitance | 待译：Body capacitance |  | storage of electricity in the human body | Category:Energy storage | Q4936889 | https://en.wikipedia.org/wiki/Body_capacitance | https://www.wikidata.org/wiki/Q4936889
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | BYD ESS | 待译：BYD ESS |  | BYD Energy Storage System (BYD ESS) is independently developed by the Chinese company BYD who begun with its battery manufacture business but later expands to diverse fields like new energy, EV etc., including energy type and power type. The energy type system can discharge for a long time, while the power type can supply big power for a short time. BYD Energy Storage System can realize, as the company announced, the function as below:frequency regulation, substation grid support, distributed energy storage system (DESS), PV/Wind integration, commercial energy management etc. | Category:Energy storage | Q4836867 | https://en.wikipedia.org/wiki/BYD_ESS | https://www.wikidata.org/wiki/Q4836867
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Calix Limited | 待译：Calix Limited |  | Australian public company | Category:Energy storage | Q5021440 | https://en.wikipedia.org/wiki/Calix_Limited | https://www.wikidata.org/wiki/Q5021440
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Carbon nanotube springs | 待译：Carbon nanotube springs |  | Carbon nanotube springs are springs made of carbon nanotubes (CNTs). They are an alternate form of high-density, lightweight, reversible energy storage based on the elastic deformations of CNTs. Many previous studies on the mechanical properties of CNTs have revealed that they possess high stiffness, strength and flexibility. The Young's modulus of CNTs is 1 TPa and they have the ability to sustain reversible tensile strains of 6% and the mechanical springs based on these structures are likely to surpass the current energy storage capabilities of existing steel springs and provide a viable alternative to electrochemical batteries. | Category:Energy storage | Q5037976 | https://en.wikipedia.org/wiki/Carbon_nanotube_springs | https://www.wikidata.org/wiki/Q5037976
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Combined storage tanks | 待译：Combined storage tanks |  | A combined storage tank combines hot water storage both for heating support and drinking water heating in a larger tank. As a result, warm water, typically from solar thermal energy, is stored temporarily for both purposes for later consumption. Breaks in sunshine can thus be bridged without any additional heating, depending on the heating requirement and storage size. This generally takes up less space than two individual buffer tanks and thermal losses are thereby reduced. These storage tanks are mostly insulated on the outside and designed for the lowest possible heat losses. Usually, it is a tank-in-tank system, that is, a two-compartment system arranged one inside the other. | Category:Energy storage | Q29478610 | https://en.wikipedia.org/wiki/Combined_storage_tanks | https://www.wikidata.org/wiki/Q29478610
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Compensated pulsed alternator | 待译：Compensated pulsed alternator |  | form of power supply | Category:Energy storage | Q5156253 | https://en.wikipedia.org/wiki/Compensated_pulsed_alternator | https://www.wikidata.org/wiki/Q5156253
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Dry-seal Wiggins gasholder | 待译：Dry-seal Wiggins gasholder |  | A dry-seal Wiggins gasholder is a device designed to hold gas. Designed by John Wiggins in 1936, it was first manufactured in 1940 and achieved widespread use across the USA. | Category:Energy storage | Q25108779 | https://en.wikipedia.org/wiki/Dry-seal_Wiggins_gasholder | https://www.wikidata.org/wiki/Q25108779
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Ecoult | 待译：Ecoult |  | Australian energy storage company | Category:Energy storage | Q16836528 | https://en.wikipedia.org/wiki/Ecoult | https://www.wikidata.org/wiki/Q16836528
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | FuelPositive Corporation | 待译：FuelPositive Corporation |  | company based in Cedar Park, Texas, United States | Category:Energy storage | Q3658468 | https://en.wikipedia.org/wiki/EEStor | https://www.wikidata.org/wiki/Q3658468
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | energy carrier | 待译：energy carrier | энергоноситель | substance (fuel) or sometimes a phenomenon (energy system) that contains energy that can be later converted to other forms such as mechanical work or heat or to operate chemical or physical processes | Category:Energy storage | Q568469 | https://en.wikipedia.org/wiki/Energy_carrier | https://www.wikidata.org/wiki/Q568469
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | energy storage as a service | 待译：energy storage as a service |  | Energy storage as a service (ESaaS) allows a facility to benefit from the advantages of an energy storage system by entering into a service agreement without purchasing the system. Energy storage systems provide a range of services to generate revenue, create savings, and improve electricity resiliency. The operation of the ESaaS system is a unique combination of an advanced battery storage system, an energy management system, and a service contract which can deliver value to a business by providing reliable power more economically. | Category:Energy storage | Q28457578 | https://en.wikipedia.org/wiki/Energy_storage_as_a_service | https://www.wikidata.org/wiki/Q28457578
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Energy Vault | 待译：Energy Vault |  | energy storage technology company | Category:Energy storage | Q57060073 | https://en.wikipedia.org/wiki/Energy_Vault | https://www.wikidata.org/wiki/Q57060073
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Exergonix, Inc. | 待译：Exergonix, Inc. |  | American energy storage company | Category:Energy storage | Q21197505 | https://en.wikipedia.org/wiki/Exergonix%2C_Inc. | https://www.wikidata.org/wiki/Q21197505
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Feolite | 待译：Feolite |  | Feolite is a type of iron oxide sintered into building blocks, which are then used for heat storage. Feolite was developed in Great Britain. | Category:Energy storage | Q24896166 | https://en.wikipedia.org/wiki/Feolite | https://www.wikidata.org/wiki/Q24896166
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | FlexGen Power Systems | 待译：FlexGen Power Systems |  | energy storage and conversion company | Category:Energy storage | Q21015708 | https://en.wikipedia.org/wiki/FlexGen_Power_Systems | https://www.wikidata.org/wiki/Q21015708
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | flywheel storage power system | 待译：flywheel storage power system |  | energy storage system using flywheels | Category:Energy storage | Q17326132 | https://en.wikipedia.org/wiki/Flywheel_storage_power_system | https://www.wikidata.org/wiki/Q17326132
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Form Energy | 待译：Form Energy |  | energy storage company | Category:Energy storage | Q107803062 | https://en.wikipedia.org/wiki/Form_Energy | https://www.wikidata.org/wiki/Q107803062
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Fuse Energy Technologies Corporation | 待译：Fuse Energy Technologies Corporation |  | Fusion defense company | Category:Energy storage | Q134429268 | https://en.wikipedia.org/wiki/Fuse_Energy_Technologies_Corporation | https://www.wikidata.org/wiki/Q134429268
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | gasholder house | 待译：gasholder house |  | building that encloses a gasholder | Category:Energy storage | Q5526450 | https://en.wikipedia.org/wiki/Gasholder_house | https://www.wikidata.org/wiki/Q5526450
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | gravity battery | 待译：gravity battery | Твердотельная аккумулирующая электростанция | type of energy store, stores energy in the form of potential energy by changing the height of a large mass using gravity. | Category:Energy storage | Q1633694 | https://en.wikipedia.org/wiki/Gravity_battery | https://www.wikidata.org/wiki/Q1633694
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Green Charge Networks | 待译：Green Charge Networks |  | American energy storage company | Category:Energy storage | Q16840971 | https://en.wikipedia.org/wiki/Green_Charge_Networks | https://www.wikidata.org/wiki/Q16840971
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | High Energy Density Matter | 待译：High Energy Density Matter |  | High-energy-density matter (HEDM) is a class of energetic materials, particularly fuel, with a high ratio of potential chemical energy output to density, usually termed "thrust-to-weight ratio", hence "high energy density". The substances are extremely reactive, therefore potentially dangerous, and some consider them impractical. Researchers are looking into HEDM that can provide much more lift than the current liquid hydrogen-liquid oxygen reactions used in today's spacecraft. | Category:Energy storage | Q16922924 | https://en.wikipedia.org/wiki/High-energy-density_matter | https://www.wikidata.org/wiki/Q16922924
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Highview Power | 待译：Highview Power |  | English energy storage company | Category:Energy storage | Q85766553 | https://en.wikipedia.org/wiki/Highview_Power | https://www.wikidata.org/wiki/Q85766553
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | hot water storage tank | 待译：hot water storage tank |  | water tank used for storing hot water for space heating or domestic use | Category:Energy storage | Q27135032 | https://en.wikipedia.org/wiki/Hot_water_storage_tank | https://www.wikidata.org/wiki/Q27135032
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Hydrostor | 待译：Hydrostor |  | Canadian energy storage company | Category:Energy storage | Q126478256 | https://en.wikipedia.org/wiki/Hydrostor | https://www.wikidata.org/wiki/Q126478256
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Ice Energy | 待译：Ice Energy |  | United States based energy storage company | Category:Energy storage | Q19903330 | https://en.wikipedia.org/wiki/Ice_Energy | https://www.wikidata.org/wiki/Q19903330
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | ice pond | 待译：ice pond |  | Natural deposit of ice | Category:Energy storage | Q17028752 | https://en.wikipedia.org/wiki/Ice_pond | https://www.wikidata.org/wiki/Q17028752
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Layered charge storage | 待译：Layered charge storage |  | hot water storage tank | Category:Energy storage | Q29477659 | https://en.wikipedia.org/wiki/Layered_charge_storage | https://www.wikidata.org/wiki/Q29477659
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | LeydenJar Techologies | 待译：LeydenJar Techologies |  | Dutch battery company | Category:Energy storage | Q136595195 | https://en.wikipedia.org/wiki/LeydenJar_Technologies | https://www.wikidata.org/wiki/Q136595195
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | liquid nitrogen vehicle | 待译：liquid nitrogen vehicle | Транспортные средства на жидком азоте | vehicle powered by liquid nitrogen stored in a tank | Category:Energy storage | Q3718671 | https://en.wikipedia.org/wiki/Liquid_nitrogen_engine | https://www.wikidata.org/wiki/Q3718671
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Mobile metering | 待译：Mobile metering |  | Mobile metering (recording of data using a mobile meter) is a technology which enables mobile recording of metering data. While railway companies such as the German Deutsche Bahn have been using this technology for years in their trains, it is now also being used for recording the charging transactions of electric vehicles (EVs). In the latter case, a mobile electricity meter is integrated either into the vehicle itself or into the respective charging cable. This, together with the necessary communication technology (SIM card), makes it possible to transmit charging data (down to the kWh) to a matching backend. | Category:Energy storage | Q49775465 | https://en.wikipedia.org/wiki/Mobile_metering | https://www.wikidata.org/wiki/Q49775465
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Net metering in Nevada | 待译：Net metering in Nevada |  | Net metering in Nevada is a public policy and political issue surrounding the rates that Nevada public utilities are required to pay to purchase excess energy produced by electric customers who generate their own electricity, such as through rooftop solar panels. The issue centers around the question paying solar customers the retail or wholesale rate for the generated electricity. Before 2016, Nevada utilities paid those with solar panels the retail rate for electricity. At the end of 2015, the Nevada Public Utilities Commission approved new rules that changed that rate to the wholesale rate. | Category:Energy storage | Q25022134 | https://en.wikipedia.org/wiki/Net_metering_in_Nevada | https://www.wikidata.org/wiki/Q25022134
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Oorja Fuel Cells | 待译：Oorja Fuel Cells |  | energy company | Category:Energy storage | Q18158222 | https://en.wikipedia.org/wiki/Oorja_Fuel_Cells | https://www.wikidata.org/wiki/Q18158222
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Pumpable ice technology | 待译：Pumpable ice technology | Технология перекачиваемого льда | Pumpable ice technology (PIT) uses thin liquids, with the cooling capacity of ice. Pumpable ice is typically a slurry of ice crystals or particles ranging from 5 micrometers to 1 cm in diameter and transported in brine, seawater, food liquid, or gas bubbles of air, ozone, or carbon dioxide. | Category:Energy storage | Q4456904 | https://en.wikipedia.org/wiki/Pumpable_ice_technology | https://www.wikidata.org/wiki/Q4456904
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | United States Department of Energy International Energy Storage Database | 待译：United States Department of Energy International Energy Storage Database |  | The United States Department of Energy's Global Energy Storage Database (GESDB) is a free-access database of energy storage projects and policies funded by the U.S. DOE, Office of Electricity, and Sandia National Labs. In 2013, the database covered 409 projects; it aimed to cover all energy storage projects globally by 2014. By 2020, it covered 1,686 projects, comprising 22 gigawatt power of US grid storage capacity. Pumped-storage hydroelectricity is around 90% of the energy capacity. Storage facilities are 80% efficient. | Category:Energy storage | Q17105389 | https://en.wikipedia.org/wiki/United_States_Department_of_Energy_Global_Energy_Storage_Database | https://www.wikidata.org/wiki/Q17105389
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Renewable thermal energy | 待译：Renewable thermal energy |  | storing and using heat from easily replenished natural resources | Category:Energy storage | Q25324227 | https://en.wikipedia.org/wiki/Renewable_thermal_energy | https://www.wikidata.org/wiki/Q25324227
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Reversible solid oxide cell | 待译：Reversible solid oxide cell |  | Electrochemical device | Category:Energy storage | Q112819568 | https://en.wikipedia.org/wiki/Reversible_solid_oxide_cell | https://www.wikidata.org/wiki/Q112819568
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Roundtrip efficiency | 待译：Roundtrip efficiency |  | measure of energy loss in storage systems | Category:Energy storage | Q136679043 | https://en.wikipedia.org/wiki/Roundtrip_efficiency | https://www.wikidata.org/wiki/Q136679043
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | sector coupling | 待译：sector coupling |  | integration of energy sectors | Category:Energy storage | Q26836351 | https://en.wikipedia.org/wiki/Sector_coupling | https://www.wikidata.org/wiki/Q26836351
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Soda locomotive | 待译：Soda locomotive |  | fireless locomotive | Category:Energy storage | Q1969777 | https://en.wikipedia.org/wiki/Soda_locomotive | https://www.wikidata.org/wiki/Q1969777
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Solar pond | 待译：Solar pond |  | solar thermal energy | Category:Energy storage | Q514067 | https://en.wikipedia.org/wiki/Solar_pond | https://www.wikidata.org/wiki/Q514067
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Spider9 | 待译：Spider9 |  | Spider9 Inc. is an American environmental technologies company headquartered in Northville, MI which develops and manufactures advanced control systems for energy storage and solar fields. It was founded in 2011 by Glynne Townsend (A123 Systems), Dave Park (former Vice President of Production at Wave Crest Energy Systems), Dave Smith (former chairman of USABC), and Bill Beckman (former Vice President of Finance at Johnson Controls). Spider9 acquired control system technology from the University of Michigan, Office of Technology Transfer and is developing the technology at their facilities at the Water Wheel Centre, in the historic Ford Valve Plant. | Category:Energy storage | Q7576996 | https://en.wikipedia.org/wiki/Spider9 | https://www.wikidata.org/wiki/Q7576996
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Standing loss | 待译：Standing loss |  | Energy loss in heat storage systems | Category:Energy storage | Q121282229 | https://en.wikipedia.org/wiki/Standing_loss | https://www.wikidata.org/wiki/Q121282229
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Steam accumulator | 待译：Steam accumulator |  | Energy storage device | Category:Energy storage | Q825064 | https://en.wikipedia.org/wiki/Steam_accumulator | https://www.wikidata.org/wiki/Q825064
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | storage water heater | 待译：storage water heater | бойлер | hot water tank with heating system | Category:Energy storage | Q14931 | https://en.wikipedia.org/wiki/Storage_water_heater | https://www.wikidata.org/wiki/Q14931
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Stored Energy at Sea | 待译：Stored Energy at Sea | Запас энергии в море | submerged offshore pump storage system | Category:Energy storage | Q56274152 | https://en.wikipedia.org/wiki/Stored_Energy_at_Sea | https://www.wikidata.org/wiki/Q56274152
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Structural battery | 待译：Structural battery |  | battery that serves a structural function | Category:Energy storage | Q104842786 | https://en.wikipedia.org/wiki/Structural_battery | https://www.wikidata.org/wiki/Q104842786
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | The Faraday Institution | 待译：The Faraday Institution |  | nonprofit organization in Didcot, United Kingdom | Category:Energy storage | Q61932835 | https://en.wikipedia.org/wiki/The_Faraday_Institution | https://www.wikidata.org/wiki/Q61932835
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | UltraBattery | 待译：UltraBattery |  | Trademark for lead-acid battery developed by CSIRO and Furukawa Battery | Category:Energy storage | Q17154415 | https://en.wikipedia.org/wiki/UltraBattery | https://www.wikidata.org/wiki/Q17154415
建议人工翻译中文术语后导入 | 缺少 Wikidata 中文 label / 中文维基链接 | Younicos | 待译：Younicos |  | energy storage systems and control software manufacturer | Category:Energy storage | Q21178747 | https://en.wikipedia.org/wiki/Younicos | https://www.wikidata.org/wiki/Q21178747